## Slide 1
An Active Connected Knee Rehabilitation Device
Yusuf Ozturk, Kee Moon, Yi Su, Yeongjee Chung , Depts. of Electrical Engr. & Dept. of Mechanical Engr., SDSU, San Diego, CA
Chet Moritz, Departments of Rehabilitation Medicine and Physiology & Biophysics, U of Washington, Seattle, WA
Introduction
This project aims to develop the technology and components for Neuro-rehabilitation Systems Testbed
The project is developing rehabilitation systems to improve function of walking gait movement after brain injury.
Results
Conclusions
A closed loop walking gait rehabilitation solution with the doctor/therapist in the loop monitoring the progress of the patient and administering active robotic device configuration parameters was developed.
A wearable wireless device for measuring muscle activity and muscle tension is developed.
The novel optical muscle activity sensor detects muscle tension and correlates with limb position.
A low power wireless protocol is developed to monitor the sensor remotely.
Wireless 16 channel and 8 channel differential biosignal interface modules
Methods
EMG/optical muscle sensor-driven robotic rehabilitation devices to solve the problems of walking
Wireless network collecting sensory data from EMG/optical muscle and movement sensors on the patient
Transmission to doctor’s office on a secure channel
Neuro-rehabilitation Systems Block Diagram (Walking Gait)
Drawing
SolidWorks
Prototype 1
Prototype 2 with Control Systems
Robotic walking gait controller
Robotic walking gait device design
Fabricated pneumatic robotic walking gait device prototype
Wireless optical muscle and movement sensor